## Sheet1
United States |  | Data Source | Year | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Notes
| Financial | bnef lcoe data viewer tool | Cost of equity (%) |  | 8.5% | 8.127% | 7.916% | 7.77% | 7.658% | 7.568% | 7.493% | 7.428% | 7.372% | 7.322% | 7.277% | 7.236% | 7.198%
|  | bnef lcoe data viewer tool | Cost of debt (bps) |  | 621 | 576.305 | 551.6665 | 534.8268 | 522.1197 | 511.9616 | 503.5275 | 496.3339 | 490.074 | 484.5413 | 479.5902 | 475.1144 | 471.0339
|  | bnef lcoe data viewer tool | Debt ratio (%) |  | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01%
|  | bnef lcoe data viewer tool | WACC |  | 6.897% | 6.472% | 6.236% | 6.074% | 5.952% | 5.854% | 5.772% | 5.703% | 5.642% | 5.588% | 5.54% | 5.496% | 5.456%
|  | bnef lcoe data viewer tool | Economic life (yrs) |  | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
22 US$ | Solar | bnef lcoe data viewer tool | Capex | $/kW | 1034.3987 | 920.1113 | 833.2442 | 792.0763 | 755.0552 | 725.0105 | 697.8566 | 689.2025 | 626.5654 | 563.9282 | 501.2911 | 438.6539 | 376.0168 | mid scenario
22 US$ |  | bnef lcoe data viewer tool | Fixed O&M | $/MW/yr | 15785.3316 | 15463.5704 | 15103.4844 | 14871.1481 | 14637.4071 | 14501.1641 | 14306.2899 | 14083.4409 | 13919.5211 | 13776.0528 | 13649.7007 | 13536.5398 | 13432.8924 | mid scenario
22 US$ | Storage | bnef lcoe data viewer tool | Fixed O&M | $/MW/yr | 3296.6639 | 2773.6115 | 2567.7979 | 2399.3912 | 2258.4608 | 2138.1071 | 2031.1079 | 1942.4719 | 1864.0491 | 1793.3602 | 1748.7163 | 1705.195 | 1662.6651 | mid scenario
24 US$ |  | from bnef energy storage system cost survey 2024 | Rack+pack | $/kWh | 174.2185 | 132.0596 | 128.6146 | 112.7341 | 96.8535 | 89.9245 | 84.1162 | 79.1682 | 74.8771 | 71.1389 | 67.8469 | 64.9432 | 62.3576 | global benchmark, avg of high and low cost scenarios, 4hr duration
24 US$ |  | from bnef li battery price survey | Pack | $/kWh | 144 | 115 | 100 | 91 | 84 | 78 | 73 | 69 | 65 | 62 | 59 | 57 | 54
24 US$ |  | from bnef energy storage system cost survey 2024 | Rack | $/kWh | 30.2185 | 17.0596 | 28.6146 | 21.7341 | 12.8535 | 11.9245 | 11.1162 | 10.1682 | 9.8771 | 9.1389 | 8.8469 | 7.9432 | 8.3576
24 US$ |  | from bnef energy storage system cost survey 2024 | BOS + EMS | $/kWh | 43.5511 | 35.4829 | 33.9831 | 32.7269 | 31.5941 | 30.5939 | 29.7361 | 28.9873 | 28.3231 | 27.7342 | 27.1906 | 26.6801 | 25.9612 | global benchmark, avg of high and low cost scenarios, 4hr duration
24 US$ |  | from bnef energy storage system cost survey 2024 | PCS + EPC + Overhead | $/kW | 276.6335 | 317.7801 | 304.0098 | 292.4903 | 282.1144 | 272.9625 | 265.1212 | 258.282 | 252.2192 | 246.8486 | 241.8935 | 237.242 | 230.6962 | global benchmark, avg of high and low cost scenarios, 4hr duration
+$304/kW
+$258/kW
+$231/kW
Note: $/kW costs include PCS (Power Conversion System, including inverter); EPC (Engineering, procurement and construction); and Developer overhead (permitting etc.)

## 2025US$
United States |  | Data Source | Year | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | Notes
| Financial | bnef lcoe data viewer tool | Cost of equity (%) |  | 8.5% | 8.127% | 7.916% | 7.77% | 7.658% | 7.568% | 7.493% | 7.428% | 7.372% | 7.322% | 7.277% | 7.236% | 7.198%
|  | bnef lcoe data viewer tool | Cost of debt (bps) |  | 621 | 576.305 | 551.6665 | 534.8268 | 522.1197 | 511.9616 | 503.5275 | 496.3339 | 490.074 | 484.5413 | 479.5902 | 475.1144 | 471.0339
|  | bnef lcoe data viewer tool | Debt ratio (%) |  | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01% | 70.01%
|  | bnef lcoe data viewer tool | WACC |  | 6.897% | 6.472% | 6.236% | 6.074% | 5.952% | 5.854% | 5.772% | 5.703% | 5.642% | 5.588% | 5.54% | 5.496% | 5.456%
|  | bnef lcoe data viewer tool | Economic life (yrs) |  | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
22 US$ | Solar | bnef lcoe data viewer tool | Capex | $/kW | 1148.1825 | 1021.3236 | 924.901 | 879.2047 | 838.1113 | 804.7617 | 774.6208 | 765.0148 | 695.4876 | 625.9603 | 556.4331 | 486.9059 | 417.3786 | mid scenario
22 US$ |  | bnef lcoe data viewer tool | Fixed O&M | $/MW/yr | 17521.7181 | 17164.5632 | 16764.8677 | 16506.9744 | 16247.5219 | 16096.2921 | 15879.9818 | 15632.6194 | 15450.6685 | 15291.4186 | 15151.1677 | 15025.5591 | 14910.5106 | mid scenario
22 US$ | Storage | bnef lcoe data viewer tool | Fixed O&M | $/MW/yr | 3659.2969 | 3078.7088 | 2850.2556 | 2663.3243 | 2506.8915 | 2373.2989 | 2254.5298 | 2156.1438 | 2069.0945 | 1990.6299 | 1941.0751 | 1892.7664 | 1845.5582 | mid scenario
24 US$ |  | from bnef energy storage system cost survey 2024 | Rack+pack | $/kWh | 180.3162 | 136.6817 | 133.1161 | 116.6797 | 100.2434 | 93.0718 | 87.0603 | 81.939 | 77.4978 | 73.6287 | 70.2216 | 67.2162 | 64.5402 | global benchmark, avg of high and low cost scenarios, 4hr duration
24 US$ |  | from bnef li battery price survey | Pack | $/kWh | 149.04 | 119.025 | 103.5 | 94.185 | 86.94 | 80.73 | 75.555 | 71.415 | 67.275 | 64.17 | 61.065 | 58.995 | 55.89
24 US$ |  | from bnef energy storage system cost survey 2024 | Rack | $/kWh | 31.2762 | 17.6567 | 29.6161 | 22.4947 | 13.3034 | 12.3418 | 11.5053 | 10.524 | 10.2228 | 9.4587 | 9.1566 | 8.2212 | 8.6502
24 US$ |  | from bnef energy storage system cost survey 2024 | BOS + EMS | $/kWh | 45.0754 | 36.7248 | 35.1725 | 33.8723 | 32.6999 | 31.6647 | 30.7769 | 30.0019 | 29.3144 | 28.7049 | 28.1423 | 27.6139 | 26.8698 | global benchmark, avg of high and low cost scenarios, 4hr duration
24 US$ |  | from bnef energy storage system cost survey 2025 | EPC | $/kWh | 42.1363 | 53.8974 | 51.6193 | 49.7112 | 47.9905 | 46.4712 | 45.1683 | 44.0309 | 43.0219 | 42.1275 | 41.3018 | 40.5262 | 39.4342 | global benchmark, avg of high and low cost scenarios, 4hr duration
|  | from bnef energy storage system cost survey 2024 | PCS + Overhead | $/kW | 108.0883 | 102.1905 | 97.5324 | 93.6456 | 90.1524 | 87.0777 | 84.4482 | 82.1585 | 80.1317 | 78.3388 | 76.6865 | 75.1372 | 72.9593 | global benchmark, avg of high and low cost scenarios, 4hr duration corrected
US$ conversion
2022>25 | 1.11
2024->25 | 1.035
Pack | Lithium battery cells
Rack | shelving, wiring, thermal cells
BOS + EMS | balance of systems, energy management systems
EPC | engineering, procurement, construction
PCS + Overhead | power conversion systems
+$98/kW
+$82/kW
+$73/kW
Note: $/kW costs include PCS (Power Conversion System, including inverter) and Developer overhead (permitting etc.)
+$87/kW
+$108/kW